Institutional Biosafety Committee

BSL-2 Laboratory Inspection Checklist

Date:

Inspected by: 									Room Number(s):

IBC Protocol:									Principal Investigator:

| Questions | Yes | No | N/A |
| --- | --- | --- | --- |
| Hazard Communication / Training Records |  |  |  |
| Is a biohazard sign posted on the door? |  |  |  |
| Are training records documented (e.g., Bloodborne Pathogens)? |  |  |  |
| Is the current KSU Laboratory Manual available to staff in the lab? |  |  |  |
| Is the current Laboratory Specific Biosafety Manual available to staff in the lab? |  |  |  |
| Are agent specific fact sheets available to staff in lab? |  |  |  |
| Are project-specific SOPs available and accessible to lab staff? |  |  |  |
| Do SOPs reflect the activities currently being performed in the lab? |  |  |  |
| Do all personnel know the emergency and spill response procedures, including who to contact and what steps to follow in the event of an incident? |  |  |  |
| Is a process for biological inventory control in place? |  |  |  |
| Facility / Space & Engineering Controls |  |  |  |
| Is the eyewash station checked weekly and accessible? |  |  |  |
| Is access to the laboratory limited to authorized personnel? |  |  |  |
| Is the lab designed to be easily cleaned and uncluttered? |  |  |  |
| Are bench tops impervious and chairs non-fabric? |  |  |  |
| Are handwashing sinks accessible and supplied? |  |  |  |
| Is the BSC certification current? |  |  |  |
| Work Practices / PPE Use |  |  |  |
| Is appropriate PPE readily available? |  |  |  |
| Are lab coats/scrubs laundered properly? |  |  |  |
| How are lab coats/scrubs laundered - how often, where (on-campus or by a third- party service), and are there documented procedures for proper handling? |  |  |  |
| Sharps, Waste & Decontamination |  |  |  |
| Is broken glass disposed of correctly? |  |  |  |
| Are sharps stored and disposed of correctly? |  |  |  |
| Are proper disinfectants available? |  |  |  |
| Are disinfectant contact times known? |  |  |  |
| Is biohazard waste labeled and containers closed? |  |  |  |
| Where is biohazardous waste autoclaved, and how is it transported safely from the lab to the autoclave? |  |  |  |
| Is a spill kit available? |  |  |  |