{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["result (5)"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"result (5)","index":0,"n_rows":124,"n_cols":10,"rows_kept":124,"cut":false,"hidden":false,"merged":[]}
["Campus - Campus Name","Asset - Asset Name","Asset - Year Constructed","Asset - Size (GSF)","Asset - FCI","Asset - FCI Grade","Asset - Mission Critical","Asset - Renewal Cost to 80% FCI","Asset - Replacement Value (USD)","Asset - Use"]
["KSU Manhattan","Ahearn Field House",1951,84879,0.81586056688939002,"F",0,11158135.699999999,18117957.699999999,"Multipurpose Use"]
["KSU Manhattan","Beach Art Museum",1996,41662,0.31862301865915699,"C",0,1869033.034,15756073.779999999,"Specialty Cultural (Museum, Library)"]
["KSU Manhattan","Campus Creek Complex",1949,29650,0.33717792859517298,"C",1,1210424.2549999999,8823753.6999999993,"Classroom, Training"]
["KSU Manhattan","Chemical Storage Bldg",1989,2608,0.35144765846244602,"C",1,206586.62199999901,1364079.34,"Storage (Fuel, Haz. Mat'ls)"]
["KSU Manhattan","Civil Infrastructure Testing Lab",1996,5423,0.22702015116473601,"B",1,40550.156000000003,1500737.57,"Research"]
["KSU Manhattan","Danforth/All Faiths Chapels",1949,9265,0.53845454597015596,"D",1,1835574.344,5423399.8799999999,"Multipurpose Use"]
["KSU Manhattan","Dickens Hall",1907,31630,0.50108160969596405,"D",1,3035191.92,10080960.85,"Classroom, Training"]
["KSU Manhattan","Dole Hall",1990,37468,0.25964980100306101,"B-",1,734662.74800000002,12316264.859999999,"Multipurpose Use"]
["KSU Manhattan","Durland/Rathbone/Fiedler/Engineering Hall",1976,386323,0.41687382571926901,"C-",1,30803932.206499901,142036191.34,"Classroom, Training"]
["KSU Manhattan","Dykstra Hall",1955,40678,0.55882486940976495,"D",1,5358674.6500000004,14933955.550000001,"Multipurpose Use"]
["KSU Manhattan","Edwards Hall",1967,56718,0.61261107570052897,"F",1,6822063.6710000001,16533884.02,"Office, Administration"]
["KSU Manhattan","Eisenhower Hall",1951,54634,0.47037437192054898,"D+",1,4187682.7769999998,15488460.49,"Classroom, Training"]
["KSU Manhattan","Environmental Research Lab",1963,6859,0.34426189122328499,"C",1,573232.35,3973553.55,"Research"]
["KSU Manhattan","Executive Court",1998,43232,0.39143685903840397,"C",0,2254127.3029999998,11774782.109999999,"Storage (General)"]
["KSU Manhattan","Executive Court Shop Annex",2016,6030,5.1917312846498802E-2,"A",1,0,1492840.36,"Research"]
["KSU Manhattan","Facilities Grounds",1918,4587,0.79480872280728598,"F",1,551507.54,927201.5,"Maintenance Shops"]
["KSU Manhattan","Facilities Shops (West Shop)",1993,9558,0.367485598725593,"C",1,475349.51999999897,2838151.6,"Maintenance Shops"]
["KSU Manhattan","Feed Technology",1956,19265,0.60289007316927201,"F",1,2805198.8849999998,6962690.5,"Research"]
["KSU Manhattan","Forestry Ext - Gallaher Bldg",1967,12885,0.38912426440007802,"C",1,685919.08400000003,3626816.93,"Laboratory"]
["KSU Manhattan","Forestry Ext - Vehicle Maintenance",1974,11693,0.47030526334080502,"D+",1,772189.38199999998,2856730.84,"Maintenance Shops"]
["KSU Manhattan","General Richard B. Myers Hall",1943,38976,0.34453022448397302,"C",1,1752137.3330000001,12122982.16,"Classroom, Training"]
["KSU Manhattan","Grain Science Center - BIVAP",2004,33569,0.13148472496081201,"A-",1,0,15332837.26,"Research"]
["KSU Manhattan","Grain Science Center - Hal Ross Flour Mill",2007,26780,6.7919209693828794E-2,"A",1,0,8810079.25,"Research"]
["KSU Manhattan","Grain Science Center - International Grains Program",2004,19732,0.40617825990975798,"C-",1,1564187.6939999999,7586579.1799999997,"Multipurpose Use"]
["KSU Manhattan","Grain Science Center - O.H. Kruse Feed Mill",2013,31278,5.1812798002605603E-2,"A",1,0,10268530.18,"Research"]
["KSU Manhattan","Gymnasium",1951,75527,0.46494582827379199,"D+",1,4831844.3569999998,18237102.989999998,"Classroom, Training"]
["KSU Manhattan","Hale-Farrell Library",1927,409706,8.3135015767361806E-2,"A",1,0,145654125.62,"Library"]
["KSU Manhattan","Hoeflin Stone House",1952,16107,0.29015499904690101,"C+",1,484346.34399999899,5372373.6799999997,"Classroom, Training"]
["KSU Manhattan","Holton Hall",1900,26859,0.25359198406744898,"B-",1,471170.408,8791807.5099999998,"Multipurpose Use"]
["KSU Manhattan","Holtz Hall",1876,12063,0.36140330626648898,"C",1,786642.57099999895,4873769.87,"Office, Administration"]
["KSU Manhattan","Justin Hall",1960,157688,0.74247419751460997,"F",1,35027690.196000002,64570241.969999999,"Classroom, Training"]
["KSU Manhattan","King Hall",1966,44462,0.51388199433713899,"D",1,7373222.4230000004,23490428.109999999,"Laboratory"]
["KSU Manhattan","KSU Recycling Center - Wind Erosion Lab",1963,12522,0.72358434830043294,"F",1,1433924.344,2738669.23,"Maintenance Shops"]
["KSU Manhattan","Lafene Student Health at Mercy Health Center",1951,91587,0.53762854117681402,"D",1,10687265.512,31653916.09,"Multipurpose Use"]
["KSU Manhattan","Leadership Studies & Programs Building",2010,38228,0.117445211900948,"A-",1,0,12645902.34,"Classroom, Training"]
["KSU Manhattan","Leasure Hall",1908,46040,0.30926103612183098,"C",1,1667430.64,15260981.4,"Multipurpose Use"]
["KSU Manhattan","Library Annex",1995,28202,0.142169968980358,"A-",1,0,5355597.1100000003,"Storage (General)"]
["KSU Manhattan","Manufacturing Learning Center (AMI)",1984,24564,0.360946966761308,"C",1,915283.03799999994,5686861.0599999996,"Multipurpose Use"]
["KSU Manhattan","Mary & Carl Ice Hall",2001,19788,0,"A",1,0,9463680.1400000006,"Multipurpose Use"]
["KSU Manhattan","McCain Auditorium",1970,123041,0.49715117507878198,"D+",1,18012258.379999999,60616480.399999999,"Multipurpose Use"]
["KSU Manhattan","Mechanical Engineering Lab",1996,13781,0.35694279133308698,"C",1,425813.27199999901,2713175.09,"Research"]
["KSU Manhattan","Natatorium",1973,50250,0.71820345129979202,"F",1,8665664.9045000002,16722514.84,"Multipurpose Use"]
["KSU Manhattan","National Gas Machine Lab",1999,11186,0.105911512967751,"A-",1,0,2503201.14,"Research"]
["KSU Manhattan","Nichols Hall",1911,75545,0.42512002735403798,"C-",1,5895427.1509999996,26187928.370000001,"Multipurpose Use"]
["KSU Manhattan","Power Plant",1928,55142,0.20743102158726501,"B",1,186932.65399999899,25155714.030000001,"Utility Plant"]
["KSU Manhattan","President's Residence",1923,10427,6.6791126694108902E-2,"A",0,0,3982140.64,"Housing (Chancellor, President)"]
["KSU Manhattan","Seaton/Regnier Hall",1908,379307,0.257934250940478,"B-",1,7204018.8859999999,124348183.83,"Classroom, Training"]
["KSU Manhattan","Stanley Stout Center",2013,11592,0.25278739955420299,"B-",1,143352.166,2715651.22,"Multipurpose Use"]
["KSU Manhattan","Throckmorton Hall",1932,407356,0.48437808967671597,"D+",1,45323134.109499998,159376322.41999999,"Multipurpose Use"]
["KSU Manhattan","Umberger Hall",1956,49176,0.46488288344330703,"D+",1,4358140.7949999999,16453085.75,"Multipurpose Use"]
["KSU Manhattan","Unger Complex",1954,115520,0.77745819957205098,"F",1,26035158.548,45085789.009999998,"Multipurpose Use"]
["KSU Manhattan","Ward Hall",1961,43660,0.241590402279072,"B",1,973225.54599999904,23400243.629999999,"Research"]
["KSU Manhattan","Waters Hall",1913,162867,0.62971182146398097,"F",1,30340233.888999999,70606002.379999995,"Multipurpose Use"]
["KSU Manhattan","Waters Hall Annex",1923,16243,0.38745332036612701,"C",1,1090853.9605,5819336.5599999996,"Multipurpose Use"]
["KSU Manhattan","West Stadium",1922,37572,0.29009298734051497,"C+",1,1525385.236,16931231.620000001,"Multipurpose Use"]
["KSU Manhattan","Willard Hall",1939,112702,0.376759482811999,"C",1,5628976.0379999997,31845397.760000002,"Classroom, Training"]
["KSU Manhattan","~Ackert/Chalmers Hall",1970,210909,0.58661619798026898,"D",1,40499856.917999998,104754682.11,"Multipurpose Use"]
["KSU Manhattan","~Agronomy Education Center",2019,5921,0,"A",1,0,2190612.14,"Classroom, Training"]
["KSU Manhattan","~Ahearn Field House",1951,84879,0.81586056688939002,"F",0,11158135.699999999,18117957.699999999,"Multipurpose Use"]
["KSU Manhattan","~Anderson Hall",1879,77870,0.50827663238675003,"D",1,10283180.59,33356990.149999999,"Office, Administration"]
["KSU Manhattan","~Beach Art Museum",1996,41662,0.31862301865915699,"C",0,1869033.034,15756073.779999999,"Specialty Cultural (Museum, Library)"]
["KSU Manhattan","~Berney Family Welcome Center",1922,53888,6.3961306369887894E-2,"A",1,0,20329150.760000002,"Multipurpose Use"]
["KSU Manhattan","~Bluemont Hall",1981,125387,0.32772214815934603,"C",1,6806431.9510000004,53290929.170000002,"Classroom, Training"]
["KSU Manhattan","~Burt Hall",1923,39285,0.53094059682772599,"D",1,5486079.6739999996,16577233.880000001,"Laboratory"]
["KSU Manhattan","~Bushnell Annex",1969,2339,0.43271510895000498,"C-",1,145948.25099999999,627154.17000000004,"Research"]
["KSU Manhattan","~Bushnell Hall",1949,23279,0.43241612333132601,"C-",1,1891443.547,8138176.9900000002,"Research"]
["KSU Manhattan","~Call Hall",1963,63657,0.415420819147096,"C-",1,4997940.2460000003,23200822.77,"Multipurpose Use"]
["KSU Manhattan","~Calvin Hall",1908,55511,0.50042123589536902,"D",1,5312605.9349999996,17683856.199999999,"Classroom, Training"]
["KSU Manhattan","~Campus Creek Complex",1949,29650,0.33717792859517298,"C",1,1210424.2549999999,8823753.6999999993,"Classroom, Training"]
["KSU Manhattan","~Cardwell Hall",1963,153914,0.512194899449126,"D",1,21441402.225000001,68679540.450000003,"Multipurpose Use"]
["KSU Manhattan","~Chem-Biochem Building",1988,95682,0.55199873360977503,"D",1,15666621.74,44507608.25,"Laboratory"]
["KSU Manhattan","~Chemical Storage Bldg",1989,2608,0.35144765846244602,"C",1,206586.62199999901,1364079.34,"Storage (Fuel, Haz. Mat'ls)"]
["KSU Manhattan","~Chiller Building I",1980,10471,0.199604176482372,"B+",1,0,18513887.309999999,"Utility Plant"]
["KSU Manhattan","~Chiller Plant II",2016,16571,1.0905524224656399E-2,"A",1,0,26228117.43,"Utility Plant"]
["KSU Manhattan","~Civil Infrastructure Testing Lab",1996,5423,0.22702015116473601,"B",1,40550.156000000003,1500737.57,"Research"]
["KSU Manhattan","~College of Business Building",2016,159872,6.2394081610244803E-2,"A",1,0,67571103.719999999,"Classroom, Training"]
["KSU Manhattan","~Danforth/All Faiths Chapels",1949,9265,0.53845454597015596,"D",1,1835574.344,5423399.8799999999,"Multipurpose Use"]
["KSU Manhattan","~Dickens Hall",1907,31630,0.50108160969596405,"D",1,3035191.92,10080960.85,"Classroom, Training"]
["KSU Manhattan","~English/Counseling Services",1960,33809,0.46869684145857499,"D+",1,3144903.304,11704280.880000001,"Classroom, Training"]
["KSU Manhattan","~International Student Center",1977,6143,0.54093963278723101,"D",1,932902.81399999897,2736269.78,"Multipurpose Use"]
["KSU Manhattan","~Shellenberger Hall",1960,50554,0.68728657059117604,"F",1,10124866.034,20778052.68,"Multipurpose Use"]
["KSU Manhattan","~Weber Hall",1957,147365,0.77988007287355998,"F",1,39925304.608000003,68850968.459999993,"Classroom, Training"]
["KSU Manhattan","~Fairchild Hall",1894,56241,0.47633003088772402,"D+",1,4486601.7439999999,16236388.529999999,"Multipurpose Use"]
["KSU Manhattan","~Kedzie Hall",1897,42403,0.27303789870986001,"B-",1,1062064.3589999999,14541277.58,"Classroom, Training"]
["KSU Manhattan","~Thompson Hall",1921,25041,0.725850164644674,"F",1,4477625.6260000002,8515021.8200000003,"Multipurpose Use"]
["KSU Salina","KSUS Construction Lab",1956,5537,0.38497424484999299,"C",1,265776.74399999902,1436831.08,"Classroom, Training"]
["KSU Salina","~KSUS Campus Storage Shed 10 (706-Fuel)",1998,180,0.18382490784623401,"B+",0,0,37980,"Storage (General)"]
["KSU Salina","~KSUS Schilling Hall",1994,20940,0.29416864232905299,"C+",0,532410.66999999899,5653800,"Housing (Residence Hall)"]
["KSU Salina","~KSUS Bulk Solids Innovation Center (Leased Space)",2015,12328,7.2562501622323097E-2,"A",0,0,3082000,"Leased Space"]
["KSU Salina","~KSUS Campus Storage Shed 6 (716-North)",2005,335,0.14189997877909,"A-",0,0,70685,"Storage (General)"]
["KSU Salina","~KSUS Campus Storage Shed 12 (716)",2018,252,7.2562438877604704E-2,"A",0,0,53172,"Storage (General)"]
["KSU Salina","~KSUS Harbin Hall",1997,19907,0.294168643451307,"C+",0,506146.1,5374890,"Housing (Residence Hall)"]
["KSU Salina","KSUS Technology Center",1985,66876,0.22516299451953101,"B",1,518208.61800000002,20594075.859999999,"Classroom, Training"]
["KSU Salina","KSUS Student Life Center",2009,37628,9.2787053554699697E-2,"A",0,0,12852605.34,"Recreation"]
["KSU Salina","KSUS Aeronautical Center/Stevens Flight Center",1990,36715,0.33743232869647899,"C",1,1203792.7209999999,8759167.0199999996,"Classroom, Training"]
["KSU Salina","KSUS Aero West Hangar",1954,29952,0.280873682543684,"C+",1,579154.723,7161226.0599999996,"Hangar"]
["KSU Salina","KSUS Aero East Hangar",1956,28247,0.264064646299498,"B-",1,454002.00300000003,7086623.1100000003,"Hangar"]
["KSU Salina","KSUS College Center",1995,24466,0.34431507647910897,"C",1,1650869.442,11439341.49,"Multipurpose Use"]
["KSU Salina","KSUS Extension Center (Science Center)",1955,9619,0.45586149213724297,"D+",1,790817.25,3090802.15,"Multipurpose Use"]
["KSU Salina","KSUS Facilities Planning",1955,9447,0.54794479590289702,"D",1,895025.08600000001,2572319.2200000002,"Office, Administration"]
["KSU Salina","KSUS Welcome Center",1955,6530,0.16323515066456501,"B+",1,0,2506250.88,"Classroom, Training"]
["KSU Salina","KSUS Tullis Building",1956,5774,0.353643123688203,"C",1,254748.09799999901,1658050.76,"Office, Administration"]
["KSU Salina","KSUS U.A.S. Laboratory",1956,5537,0.341238277004767,"C",1,239244.04,1693903.7,"Classroom, Training"]
["KSU Salina","~KSUS Campus Storage Shed 5 (716-South)",2007,335,7.2562495578977093E-2,"A",0,0,70685,"Storage (General)"]
["KSU Salina","KSUS Maintenance Building",1956,5537,0.60185994880724702,"F",1,621416.81499999901,1546351.7,"Maintenance Shops"]
["KSU Salina","KSUS Outreach Center",1956,5436,0.13427744600847699,"A-",1,0,2260757.7000000002,"Classroom, Training"]
["KSU Salina","KSUS Composites Bldg",1996,2100,0.42673409168993098,"C-",1,139239.96100000001,614111.27,"Classroom, Training"]
["KSU Salina","KSUS U.A.S. Net",2016,60000,0,"A",1,0,511715.44,"Classroom, Training"]
["KSU Salina","KSUS Sports Support Facility",2005,1199,6.1488160194465999E-2,"A",0,0,736877.39,"Recreation"]
["KSU Salina","~KSUS Campus Storage Shed 8 (714)",1998,500,0.18382502369668199,"B+",0,0,105500,"Storage (General)"]
["KSU Salina","~KSUS Ssa Hangar 600 (Leased)",2008,13509,7.2562502035679904E-2,"A",0,0,3377250,"Leased Space"]
["KSU Salina","~KSUS Campus Storage Shed 11 (706-Plastic)",2009,20,7.2561611374407503E-2,"A",0,0,4220,"Storage (General)"]
["KSU Salina","~KSUS Campus Storage Shed 2 (717-East)",2011,310,7.2562452224430501E-2,"A",0,0,65410,"Storage (General)"]
["KSU Salina","~KSUS Campus Storage Shed 3 (717-South)",2011,475,7.25625342978298E-2,"A",0,0,100225,"Storage (General)"]
["KSU Salina","~KSUS Campus Storage Shed 4 (717-West)",2006,305,7.2562504855877494E-2,"A",0,0,64355,"Storage (General)"]
["KSU Salina","~KSUS Building 820",1983,2280,0,"A",0,0,0,"Leased Space"]
["KSU VetMed","~CMG - Research Building",2011,18872,0.13336628579670401,"A-",1,0,7578391.4500000002,"Research"]
["KSU VetMed","CMG - Caretaker's Residence",2011,1390,8.2299257142773405E-2,"A",0,0,484492.83,"Housing (Single Family)"]
["KSU VetMed","CMG - Shop/Storage Building",2011,8712,2.6348441295315099E-2,"A",1,0,1223144.46,"Storage (General)"]
["KSU VetMed","Trotter Hall",1973,78045,0.57988009050561395,"D",1,16029795.950999999,42196988.869999997,"Classroom, Training"]
["KSU VetMed","Coles Hall",1972,108401,0.452541618421957,"D+",1,12382668.630000001,49032190.049999997,"Research"]
["KSU VetMed","Mosier Hall",1978,278119,7.1310040611110794E-5,"A",1,0,129300725.69,"Multipurpose Use"]
["KSU VetMed","KSU Innovation Center (was at KSU general; now Vet Med)",2006,30009,0.171153185988732,"B+",1,0,13085799.73,"Laboratory"]